## Sheet1
A. General Information about Ventilator
i) Type of Ventilation | Non-Invasive
ii) For adults or paediatric patients etc. | Adults
iii) Clinical Environments :- | Hosptails, Institutions and Ambulance
iv) Alarm volume: Range in decibels
v) Battery Power: Timings for continuous use
vi) Power Sources: AC (wall plugin) DC external batteries
vii)Battery backup ( at least 1 hour up to 3 hours): Timings
viii) External Power Requirements: AC power, dc power
ix) Physical Dimensions : | Weight, height, depth
x) User Interface | : Display Size, Types of Buttons
xi) Operating Environments: Temperature, humidity, Pressure
xii)Electromagnetic Compatibility and Protection: Standards Implemented
xiii) Electro Static Discharge (ESD) levels etc.
B. Controls:
i) Breath Rate | 8-35 breath per minute
ii) PEEP | 5cm upto 20cm of H2O
iii) FiO2 | 50-60% and 90-100%
iv) Flow Cycle
v) IPAP
vi) Tidal Volume | 200-700 ml
vii)Time Cycle
viii) Modes of ventilation: | PCV,VCV, AC-PC and AC-VC
C. Alarms:
i) Battery backup
ii) Circuit Integrity (Hardware watchdog)
iii) High and Low Breath Rate
iv) Peak Inspiratory Pressure
v) High FiO2
vi) Oxygen Failure (Pressure switch to be used)
vii)Tidal Volume
viii) Minute Volume
ix) Disconnection (patient not present)
x) 96 hours of operation